## Report
| FINAL REPORT BELOW YELLOW LINE - FILL IN ALL ORANGE HIGHLIGHTED FIELDS AT TOP OR REPORT | [12 empty] | INSTRUCTIONS
"X"s in column A show rows that need data entered
X | Enter Contact Name | [8 empty] | CAL DATE: | 1899-12-31
X | Enter Company | [8 empty] | TEMP IN F (Start):
X | Enter Address | [8 empty] | TEMP IN F (End):
X | Enter City/State/Postal | [8 empty] | r HUMIDITY: | 0%
X | Enter Country | [8 empty] | GRAVITY (m/s²): | 9.8036 |  |  | Must be adjusted for deadwieght calibrations
X | CUSTOMER ORDER #: |  | Enter Customer Order # | [6 empty] | CUSTOMER REQUESTED DUE DATE: | 1899-12-31 |  |  |  | To Find Lat & Longitude |  | http://www.latlong.net/convert-address-to-lat-long.html
X | STARRETT ORDER #: |  | Enter Starrett Order # | [11 empty] | To Find Local Gravity |  | https://geodesy.noaa.gov/cgi-bin/grav_pdx.prl
CALIBRATION CERTIFICATE - FORCE
THIS IS TO CERTIFY THAT THE ITEMS LISTED BELOW MEET THE REQUIREMENTS FOR ACCURACY AND REPEATABILITY FOR THE APPLICABLE SPECIFICATION AND COMPLIES WITH THE TECHNOLOGICAL REQUIREMENTS OF THE CUSTOMER'S REFERENCED PURCHASE ORDER. STANDARDS AND EQUIPMENT USED FOR INSPECTION ARE CERTIFIED ACCURATE WITH REFERENCE TO 68 DEGREES F, TRACEABLE TO MASTER STANDARDS AT THE NATIONAL INSTITUTE OF STANDARDS AND TECHNOLOGY, GAITHERSBURG, MD. WE ATTEST THAT OUR MEASURING AND TEST EQUIPMENT AND CALIBRATIONS PERFORMED ON THE ITEM (S) LISTED BELOW, MEET THE REQUIREMENTS OF ISO 17025, AND ANSI/NCSL Z540-1. ANY NUMBER OF FACTORS MAY CAUSE THE CALIBRATED ITEM TO DRIFT OUT OF CALIBRATION BEFORE THE SPECIFIED NEXT CAL DATE. IT SHALL BE THE RESPONSIBILITY OF THE END USER TO ENSURE THAT THE CALIBRATED ITEM REMAINS WITHIN CALIBRATION FOR THE DURATION OF THE END USER’S ASSIGNED CALIBRATION INTERVAL. THE REPORTED UNCERTAINTY IS BASED ON SIMPLE ACCEPTANCE, WHICH IS DOCUMENTED IN THE ASME B89.7.3.1-2001, AND HAS NOT BEEN USED TO ADJUST THE TOLERANCE OF THE CALIBRATED ITEM.
ITEMS VERIFIED
X | MFG: | Starrett |  |  | Test Frame Model: | Select One |  |  |  | Serial #: | 0 |  |  | See back of test frame for serial number
X | MFG: | Starrett |  |  | Load Cell Model: | Select One |  |  |  | Serial #: | 0 |  |  | See Load Cell for serial number
X |  |  |  |  | Lx Software Version: | Select One |  |  |  | Software Version: | 0 |  |  | Press Lx (top right), SETTINGS (Gear), ABOUT
X |  |  |  |  | Display Resolution (N) |  |  |  |  | Firmware Version: | 0 |  |  | Press Lx (top right), SETTINGS (Gear), ABOUT, HARDWARE
[5 empty] | Display Resolution (mm): | 0.01
| WAS INSTRUMENT OPERABLE AND WITHIN CALIBRATION "AS FOUND" | [6 empty] | YES | [5 empty] | Enter Display Resolution of Load
| IMPACT OF REJECT: | [12 empty] | Starrett Reccommends 10,000:1 (Divide load cell capacity by 10,000)
| WAS INSTRUMENT OPERABLE AND WITHIN CALIBRATION "AS LEFT"? | [6 empty] | YES | [5 empty] | See Lx (top right), SETTINGS (gear), DISPLAY SETTINGS
| IMPACT OF REJECT: | [12 empty] | For Deadweight calibrations must be set to Grams)
| WAS THE FORCE MEASURING DEVICES INTERCHANBEABILITY ESTABLISHED? | [6 empty] | YES
[6 empty] | REQUIRED ACCUARCY (+/-): | 1% |  |  |  | REQUIRED REPEATABLITIY (+/-): | 1%
| CAL. PROCEDURE: |  | Starrett Electronic
X | SPECIFICATIONS: ASTM E4-10 | [6 empty] | CALIBRATED BY: | ENTER TECHNICIAN NAME
STANDARDS USED
|  |  | Make | Model |  | Cal Agency | Cal Date | Due Date | ID | Capacity | Units
|  |  | Starrett | F27401Q |  | Starrett | 2019-03-07 | 2020-03-07 | 131908189 | - | mm
|  |  | Extech | 445580 |  | Essco | 2019-04-03 | 2020-04-03 | Z233336 | - | F
|  |  | Extech | 445580 |  | Essco | 2019-04-03 | 2020-04-03 | Z233336 | - | %
|  |  | - | Select Load Cell |  | - | - | - | - | - | - |  |  | Select Load Cell Used in Calibraiton from dropdown list For 100N (20lb) load cells and smaller deadweights are used
|  |  | Interface | 9840-200-1 |  | Interface | 2019-05-03 | 2021-02-01 | 20254 | - | -
|  |  | - | - |  | - | - | - | - | - | -
|  |  | - | - |  | - | - | - | - | - | -
|  |  | - | - |  | - | - | - | - | - | -
|  |  | - | - |  | - | - | - | - | - | -
|  |  | - | - |  | - | - | - | - | - | -
|  |  | - | - |  | - | - | - | - | - | -
|  |  | - | - |  | - | - | - | - | - | -
|  |  | - | - |  | - | - | - | - | - | -
|  |  | - | - |  | - | - | - | - | - | -
|  |  | - | - |  | - | - | - | - | - | -
[32 empty] | Max travel for system class | As Found |  |  |  | As Left
[33 empty] | Max Error (mm) | Max Error (%) | Max Repeat Error (mm) | Max Repeat Error (%) | Max Error (mm) | Max Error (%) | Max Repeat Error (mm) | Max Repeat Error (%)
[23 empty] | Classification of Displacement Measuring Systems | [9 empty] | 0 | #VALUE! | 0 | #VALUE! | 0 | - | 0 | -
[23 empty] | Classification | Resolution not to exceed the Greater of: |  |  |  | Error not to exceed the Greater of: |  |  |  | 50
[24 empty] | Fixed Error |  | Relative Error |  | Fixed Error (+/-) |  | Relative Error (+/-) |  | Relative Error Limit
[24 empty] | mm | in | % Reading |  | mm (in) |  | % of Displacement |  | mm
[23 empty] | Class A | 0.013 | 0.0005 | +/-0.25 |  | 0.025 | 0.001 | 0.5% |  | 0.25
[23 empty] | Class B | 0.038 | 0.0015 | +/-0.5 |  | 0.075 | 0.003 | 1% |  | 0.5
| Summary of Results | [21 empty] | Class C | 0.064 | 0.0025 | +/-1.0 |  | 0.125 | 0.005 | 2% |  | 1
| LOAD SUMMARY | [21 empty] | Class D | 0.13 | 0.005 | +/-1.5 |  | 0.25 | 0.01 | 3% |  | 1.5
[5 empty] | As Found |  | As Left
| Range % Full Scale | Test Range (N) |  | T/C Test | Max % Error | ASTM E4 REPEAT % | Max % Error | Repeat % Error | Zero Return | Resolution (N) | ASTM E4 Lower Limit (N)
| 100% | 0 - | #N/A | T | 0% | 0% | 0% | 0% | Pass | 0 | 0
| 100% | 0 - | #N/A | C | 0% | 0% | 0% | 0% | Pass | 0 | 0
| DISTANCE SUMMARY | [21 empty] | Uncertainty Budget
|  |  | As Found |  |  |  | As Left | [15 empty] | Varianceu2 | [20 empty] | Summation | Standard Uncertainty, uc | UNCERTAINTY (%) | UNCERTAINTY U (+/-N) | Summation | Standard Uncertainty, uc | UNCERTAINTY (%) | UNCERTAINTY U (+/-G)
| Test Range |  | Max Error (mm) | Max Error (%) | Max Repeat Error (mm) | Max Repeat Error (%) | Max Error (mm) | Max Error (%) | Max Repeat Error (mm) | Max Repeat Error (%) | System Class | Resolution (mm) | [11 empty] | Repeat | Master Cell Accuarcy | Master Cell Uncertainty (%) | Uncorrected Weights (grams) |  |  | Weight Accuarcies |  |  |  |  | Weight Uncertainties (g) K=2 |  |  |  |  | Resolution @ Load | Resolution @ Zero | Temp (F) Dev Cal / Test | Drift,Time of Calibration
| 0 - 50mm |  | 0 | #VALUE! | 0 | #VALUE! | 0 | - | 0 | - | A | 0.01 |  | ENTER RUN 1 THROUGH 3 NOMINALS AND OBESERVED If Runs 1/2/3 "% Error" and "ASTM E4 Repeat %" have less than 1% error no corrections or after readings required If at least one run greater than 1% error corrections and after are readings required
[23 empty] | Procedure | Elect/Dead | Electronic | Electronic | Weight 1 | Weight 2 | Weight 3 | Weight 1 | Weight 2 | Weight 3 | Total/2 for +/- | Combine Master Weight Accuarcy | Weight 1 | Weight 2 | Weight 3 | Total | Combine Master Weight Uncertainty (g) | Elect/Dead | Elect/Dead | Elect/Dead | Elect/Dead | Electronic | Electronic | Electronic | Electronic | Deadweight | Deadweight | Deadweight | Deadweight
| AS FOUND LOAD DATA - TENSION DATA POINT SUMMARY - 100% RANGE | [21 empty] | Type | A | B | B | [7 empty] | B |  |  |  |  | B | B | B | B | B
[14 empty] | NO CORRECTIONS NEEDED | [8 empty] | Distribution | Normal | Rect | Normal | [7 empty] | Rect |  |  |  |  | Normal | Rect | Rect | Normal | Normal
| Target | RUN 1 NOMINAL | RUN 1 OBSERVED | RUN 1 % ERROR | RUN 2 NOMINAL | RUN 2 OBSERVED | RUN 2 % ERROR | RUN 3 NOMINAL | RUN 3 OBSERVED | RUN 3 % ERROR | ASTM E4 REPEAT % | RELATIVE UNCERTAINTY (%) | UNCERTAINTY OF MEASUREMENT U (+/-) | Tension Correction Data |  |  |  | Deadweight Combinations |  |  |  | REPEAT ERROR % | Divisor | 1 | 1.73 | 2 | [7 empty] | 1.73 |  |  |  |  | 2 | 3.46 | 3.46 | 2 | 2 | [8 empty] | Graph
[14 empty] | Nominal | Observed | Lx Corrections Point |  | Weight 1 | Weight 2 | Weight 3 | Error |  | Standard |  | #N/A | #N/A | [13 empty] | 0 | 0 | 0% | 0.01% | [8 empty] | Target | RUN 1 % ERROR | RUN 2 % ERROR | Error Tolerance | Error Tolerance
X | #N/A | - |  | - | - |  | - | - |  | - | - | - | - | - | 0 | #1 |  | - | - | - | #VALUE! | - |  | #VALUE! | #VALUE! | #VALUE! | - | - | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #N/A | - | - | 1% | -1%
X | #N/A | - |  | - | - |  | - | - |  | - | - | - | - | - | 0 | #2 |  | - | - | - | #VALUE! | - |  | #VALUE! | #VALUE! | #VALUE! | - | - | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #N/A | - | - | 1% | -1%
X | #N/A | - |  | - | - |  | - | - |  | - | - | - | - | - | 0 | #3 |  | - | - | - | #VALUE! | - |  | #VALUE! | #VALUE! | #VALUE! | - | - | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #N/A | - | - | 1% | -1%
X | #N/A | - |  | - | - |  | - | - |  | - | - | - | - | - | 0 | #4 |  | - | - | - | #VALUE! | - |  | #VALUE! | #VALUE! | #VALUE! | - | - | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #N/A | - | - | 1% | -1%
X | #N/A | - |  | - | - |  | - | - |  | - | - | - | - | - | 0 | #5 |  | - | - | - | #VALUE! | - |  | #VALUE! | #VALUE! | #VALUE! | - | - | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #N/A | - | - | 1% | -1%
X | #N/A | - |  | - | - |  | - | - |  | - | - | - | - | - | 0 | #6 |  | - | - | - | #VALUE! | - |  | #VALUE! | #VALUE! | #VALUE! | - | - | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #N/A | - | - | 1% | -1%
X | #N/A | - |  | - | - |  | - | - |  | - | - | - | - | - | 0 | #7 |  | - | - | - | #VALUE! | - |  | #VALUE! | #VALUE! | #VALUE! | - | - | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #N/A | - | - | 1% | -1%
X | #N/A | - |  | - | - |  | - | - |  | - | - | - | - | - | 0 | #8 |  | - | - | - | #VALUE! | - |  | #VALUE! | #VALUE! | #VALUE! | - | - | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #N/A | - | - | 1% | -1%
X | #N/A | - |  | - | - |  | - | - |  | - | - | - | - | - | 0 | #9 |  | - | - | - | #VALUE! | - |  | #VALUE! | #VALUE! | #VALUE! | - | - | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #N/A | - | - | 1% | -1%
X | #N/A | - |  | - | - |  | - | - |  | - | - | - | - | - | 0 | #10 |  | - | - | - | #VALUE! | - |  | #VALUE! | #VALUE! | #VALUE! | - | - | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #N/A | - | - | 1% | -1%
| AS FOUND LOAD DATA - COMPRESSION DATA POINT SUMMARY - 100% RANGE | [21 empty] | Type | A | B | B | [7 empty] | B |  |  |  |  | B | B | B | B | B
[23 empty] | Distribution | Normal | Rect | Normal | [7 empty] | Rect |  |  |  |  | Normal | Rect | Rect | Normal | Normal
| Target | RUN 1 NOMINAL | RUN 1 OBSERVED | RUN 1 % ERROR | RUN 2 NOMINAL | RUN 2 OBSERVED | RUN 2 % ERROR | RUN 3 NOMINAL | RUN 3 OBSERVED | RUN 3 % ERROR | ASTM E4 REPEAT % | RELATIVE UNCERTAINTY (%) | UNCERTAINTY OF MEASUREMENT U (+/-) | Compression Correction Data |  |  |  | Deadweight Combinations |  |  |  | REPEAT ERROR % | Divisor | 1 | 1.73 | 2 | [7 empty] | 1.73 |  |  |  |  | 2 | 3.46 | 3.46 | 2 | 2
[14 empty] | Nominal | Observed | Lx Corrections Point |  | Weight 1 | Weight 2 | Weight 3 | Error |  | Standard |  | #N/A | #N/A | [13 empty] | 0 | 0 | 0% | 0.01% | [8 empty] | Target | RUN 1 % ERROR | RUN 2 % ERROR | Error Tolerance | Error Tolerance
X | #N/A | - |  | - | - |  | - | - |  | - | - | - | - | - | 0 | #1 |  | - | - | - | #VALUE! | - |  | #VALUE! | #VALUE! | #VALUE! | - | - | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | - | - | - | 1% | -1%
X | #N/A | - |  | - | - |  | - | - |  | - | - | - | - | - | 0 | #2 |  | - | - | - | #VALUE! | - |  | #VALUE! | #VALUE! | #VALUE! | - | - | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | - | - | - | 1% | -1%
X | #N/A | - |  | - | - |  | - | - |  | - | - | - | - | - | 0 | #3 |  | - | - | - | #VALUE! | - |  | #VALUE! | #VALUE! | #VALUE! | - | - | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | - | - | - | 1% | -1%
X | #N/A | - |  | - | - |  | - | - |  | - | - | - | - | - | 0 | #4 |  | - | - | - | #VALUE! | - |  | #VALUE! | #VALUE! | #VALUE! | - | - | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | - | - | - | 1% | -1%
X | #N/A | - |  | - | - |  | - | - |  | - | - | - | - | - | 0 | #5 |  | - | - | - | #VALUE! | - |  | #VALUE! | #VALUE! | #VALUE! | - | - | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | - | - | - | 1% | -1%
X | #N/A | - |  | - | - |  | - | - |  | - | - | - | - | - | 0 | #6 |  | - | - | - | #VALUE! | - |  | #VALUE! | #VALUE! | #VALUE! | - | - | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | - | - | - | 1% | -1%
X | #N/A | - |  | - | - |  | - | - |  | - | - | - | - | - | 0 | #7 |  | - | - | - | #VALUE! | - |  | #VALUE! | #VALUE! | #VALUE! | - | - | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | - | - | - | 1% | -1%
X | #N/A | - |  | - | - |  | - | - |  | - | - | - | - | - | 0 | #8 |  | - | - | - | #VALUE! | - |  | #VALUE! | #VALUE! | #VALUE! | - | - | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | - | - | - | 1% | -1%
X | #N/A | - |  | - | - |  | - | - |  | - | - | - | - | - | 0 | #9 |  | - | - | - | #VALUE! | - |  | #VALUE! | #VALUE! | #VALUE! | - | - | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | - | - | - | 1% | -1%
X | #N/A | - |  | - | - |  | - | - |  | - | - | - | - | - | 0 | #10 |  | - | - | - | #VALUE! | - |  | #VALUE! | #VALUE! | #VALUE! | - | - | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | - | - | - | 1% | -1%
| Run 3 is used only in the calculation of Uncertainty. | [21 empty] | Uncertainty Budget
| Uncertainty of Measurement U, (+/-) N is expressed with a coverage factor of k=2. | [21 empty] | Varianceu2 | [20 empty] | Summation | Standard Uncertainty, uc | UNCERTAINTY (%) | UNCERTAINTY U (+/-N) | Summation | Standard Uncertainty, uc | UNCERTAINTY (%) | UNCERTAINTY U (+/-G)
| Uncertainty (%) is expressed when the Uncertainty of Measurement U is applied to a test point. | [22 empty] | Repeat | Master Cell Accuarcy | Master Cell Uncertainty (%) | Uncorrected Weights (grams) |  |  | Weight Accuarcies |  |  |  |  | Weight Uncertainties (g) K=2 |  |  |  |  | Resolution @ Load (N) | Resolution @ Zero (N) | Temp (F) Dev Cal / Test | Drift,Time of Calibration
ENTER RUN 1 THROUGH 3 NOMINALS AND OBESERVED Runs 1/2/3 "% Error" and "ASTM E4 Repeat %" must have less than 1% error If at least one run greater than 1% after error corrections calibration must be redone
[23 empty] | Procedure | Elect/Dead | Electronic | Electronic | Weight 1 | Weight 2 | Weight 3 | Weight 1 | Weight 2 | Weight 3 | Total/2 for +/- | Combine Master Weight Accuarcy | Weight 1 | Weight 2 | Weight 3 | Total | Combine Master Weight Uncertainty (g) | Elect/Dead | Elect/Dead | Elect/Dead | Elect/Dead | Electronic | Electronic | Electronic | Electronic | Deadweight | Deadweight | Deadweight | Deadweight
| AS LEFT LOAD DATA - TENSION DATA POINT SUMMARY - 100% RANGE | [21 empty] | Type | A | B | B | [7 empty] | B |  |  |  |  | B | B | B | B | B
[14 empty] | NO CORRECTIONS NEEDED | [8 empty] | Distribution | Normal | Rect | Normal | [7 empty] | Rect |  |  |  |  | Normal | Rect | Rect | Normal | Normal
| Target | RUN 1 NOMINAL | RUN 1 OBSERVED | RUN 1 % ERROR | RUN 2 NOMINAL | RUN 2 OBSERVED | RUN 2 % ERROR | RUN 3 NOMINAL | RUN 3 OBSERVED | RUN 3 % ERROR | ASTM E4 REPEAT % | RELATIVE UNCERTAINTY (%) | UNCERTAINTY OF MEASUREMENT U (+/-) | Tension Correction Data |  |  |  | Deadweight Combinations |  |  |  | REPEAT ERROR % | Divisor | 1 | 1.73 | 2 | [7 empty] | 1.73 |  |  |  |  | 2 | 3.46 | 3.46 | 2 | 2 | [8 empty] | Graph
[14 empty] | Nominal | Observed | Lx Corrections Point |  | Weight 1 | Weight 2 | Weight 3 | Error |  | Standard |  | #N/A | #N/A | [13 empty] | 0 | 0 | 0% | 0.01% | [8 empty] | Target | RUN 1 % ERROR | RUN 2 % ERROR | Error Tolerance | Error Tolerance
X | #N/A | - |  | - | - |  | - | - |  | - | - | - | - | - | 0 | #1 |  | - | - | - | #VALUE! | - |  | #VALUE! | #VALUE! | #VALUE! | - | - | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #N/A | - | - | 1% | -1%
X | #N/A | - |  | - | - |  | - | - |  | - | - | - | - | - | 0 | #2 |  | - | - | - | #VALUE! | - |  | #VALUE! | #VALUE! | #VALUE! | - | - | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #N/A | - | - | 1% | -1%
X | #N/A | - |  | - | - |  | - | - |  | - | - | - | - | - | 0 | #3 |  | - | - | - | #VALUE! | - |  | #VALUE! | #VALUE! | #VALUE! | - | - | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #N/A | - | - | 1% | -1%
X | #N/A | - |  | - | - |  | - | - |  | - | - | - | - | - | 0 | #4 |  | - | - | - | #VALUE! | - |  | #VALUE! | #VALUE! | #VALUE! | - | - | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #N/A | - | - | 1% | -1%
X | #N/A | - |  | - | - |  | - | - |  | - | - | - | - | - | 0 | #5 |  | - | - | - | #VALUE! | - |  | #VALUE! | #VALUE! | #VALUE! | - | - | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #N/A | - | - | 1% | -1%
X | #N/A | - |  | - | - |  | - | - |  | - | - | - | - | - | 0 | #6 |  | - | - | - | #VALUE! | - |  | #VALUE! | #VALUE! | #VALUE! | - | - | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #N/A | - | - | 1% | -1%
X | #N/A | - |  | - | - |  | - | - |  | - | - | - | - | - | 0 | #7 |  | - | - | - | #VALUE! | - |  | #VALUE! | #VALUE! | #VALUE! | - | - | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #N/A | - | - | 1% | -1%
X | #N/A | - |  | - | - |  | - | - |  | - | - | - | - | - | 0 | #8 |  | - | - | - | #VALUE! | - |  | #VALUE! | #VALUE! | #VALUE! | - | - | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #N/A | - | - | 1% | -1%
X | #N/A | - |  | - | - |  | - | - |  | - | - | - | - | - | 0 | #9 |  | - | - | - | #VALUE! | - |  | #VALUE! | #VALUE! | #VALUE! | - | - | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #N/A | - | - | 1% | -1%
X | #N/A | - |  | - | - |  | - | - |  | - | - | - | - | - | 0 | #10 |  | - | - | - | #VALUE! | - |  | #VALUE! | #VALUE! | #VALUE! | - | - | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #N/A | - | - | 1% | -1%
| AS LEFT LOAD DATA - COMPRESSION DATA POINT SUMMARY - 100% RANGE | [21 empty] | Type | A | B | B | [7 empty] | B | [5 empty] | B | B | B | B
[23 empty] | Distribution | Normal | Rect | Normal | [7 empty] | Rect | [5 empty] | Rect | Rect | Normal | Normal
| Target | RUN 1 NOMINAL | RUN 1 OBSERVED | RUN 1 % ERROR | RUN 2 NOMINAL | RUN 2 OBSERVED | RUN 2 % ERROR | RUN 3 NOMINAL | RUN 3 OBSERVED | RUN 3 % ERROR | ASTM E4 REPEAT % | RELATIVE UNCERTAINTY (%) | UNCERTAINTY OF MEASUREMENT U (+/-) | Compression Correction Data |  |  |  | Deadweight Combinations |  |  |  | REPEAT ERROR % | Divisor | 1 | 1.73 | 2 | [7 empty] | 1.73 | [5 empty] | 3.46 | 3.46 | 2 | 2
[14 empty] | Nominal | Observed | Lx Corrections Point |  | Weight 1 | Weight 2 | Weight 3 | Error |  | Standard |  | #N/A | #N/A | [13 empty] | 0 | 0 | #VALUE! | 0.01% | [8 empty] | Target | RUN 1 % ERROR | RUN 2 % ERROR | Error Tolerance | Error Tolerance
X | #N/A | - |  | - | - |  | - | - |  | - | - | - | - | - | 0 | #1 |  | - | - | - | #VALUE! | - |  | #VALUE! | #VALUE! | #VALUE! | - | - | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | - | - | - | 1% | -1%
X | #N/A | - |  | - | - |  | - | - |  | - | - | - | - | - | 0 | #2 |  | - | - | - | #VALUE! | - |  | #VALUE! | #VALUE! | #VALUE! | - | - | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | - | - | - | 1% | -1%
X | #N/A | - |  | - | - |  | - | - |  | - | - | - | - | - | 0 | #3 |  | - | - | - | #VALUE! | - |  | #VALUE! | #VALUE! | #VALUE! | - | - | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | - | - | - | 1% | -1%
X | #N/A | - |  | - | - |  | - | - |  | - | - | - | - | - | 0 | #4 |  | - | - | - | #VALUE! | - |  | #VALUE! | #VALUE! | #VALUE! | - | - | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | - | - | - | 1% | -1%
X | #N/A | - |  | - | - |  | - | - |  | - | - | - | - | - | 0 | #5 |  | - | - | - | #VALUE! | - |  | #VALUE! | #VALUE! | #VALUE! | - | - | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | - | - | - | 1% | -1%
X | #N/A | - |  | - | - |  | - | - |  | - | - | - | - | - | 0 | #6 |  | - | - | - | #VALUE! | - |  | #VALUE! | #VALUE! | #VALUE! | - | - | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | - | - | - | 1% | -1%
X | #N/A | - |  | - | - |  | - | - |  | - | - | - | - | - | 0 | #7 |  | - | - | - | #VALUE! | - |  | #VALUE! | #VALUE! | #VALUE! | - | - | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | - | - | - | 1% | -1%
X | #N/A | - |  | - | - |  | - | - |  | - | - | - | - | - | 0 | #8 |  | - | - | - | #VALUE! | - |  | #VALUE! | #VALUE! | #VALUE! | - | - | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | - | - | - | 1% | -1%
X | #N/A | - |  | - | - |  | - | - |  | - | - | - | - | - | 0 | #9 |  | - | - | - | #VALUE! | - |  | #VALUE! | #VALUE! | #VALUE! | - | - | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | - | - | - | 1% | -1%
X | #N/A | - |  | - | - |  | - | - |  | - | - | - | - | - | 0 | #10 |  | - | - | - | #VALUE! | - |  | #VALUE! | #VALUE! | #VALUE! | - | - | - | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | - | - | - | 1% | -1%
Run 3 is used only in the calculation of Uncertainty.
Uncertainty of Measurement U, (+/-) N is expressed with a coverage factor of k=2.
Uncertainty (%) is expressed when the Uncertainty of Measurement U is applied to a test point.
Varianceu2
[24 empty] | Repeat | Indicator Accuary (mm) | Indicator Uncertainty (%) | Resolution of FMS System | Temperature | Summation | Standard Uncertainty, uc | UNCERTAINTY (%) | UNCERTAINTY U (+/-mm)
| DISTANCE DATA | [12 empty] | ENTER RUN 1 THROUGH 3 NOMINALS AND OBESERVED
[23 empty] | Type | A | B | B | B | B
| As Found | [21 empty] | Distribution | Normal | Rect | Normal | Rect | Normal
| Distance (mm) | Nominal (mm) | Observed (mm) | RUN 1 % ERROR | Nominal (mm) | Observed (mm) | RUN 2 % ERROR | Nominal (mm) | Observed (mm) | RUN 3 % ERROR | ASTM E2309 REPEAT % | UNCERTAINTY (%) | UNCERTAINTY U (+/-mm) | L2/L3 Correction Data for Input | [6 empty] | Repeat Error | REPEAT ERROR % | Divisor | 1 | 1.73 | 2 | 1.73 | 2 | [5 empty] | Max Error |  |  | Max Repeat Error
| 10 | 10 | 10 |  | 10 | 10 |  | 10 | 10 |  |  |  |  | Nominal | Observed | [7 empty] | Standard | 0.0002% | 0.002 | 0.0025 | 0.01 | 0 | [5 empty] | Run 1 | Run 2 | Run 3
X | 10 |  |  | - |  |  | - |  |  | - | #VALUE! | - | - | 0 | 0 | [5 empty] | 0 | - |  | #VALUE! | 1.3365e-06 | 1.5625e-06 | 3.3412e-05 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 0 | 0 | 0 | 0
X | 20 |  |  | - |  |  | - |  |  | - | #VALUE! | - | - | 0 | 0 | [5 empty] | 0 | - |  | #VALUE! | 1.3365e-06 | 1.5625e-06 | 3.3412e-05 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 0 | 0 | 0 | 0
X | 30 |  |  | - |  |  | - |  |  | - | #VALUE! | - | - | 0 | 0 | [5 empty] | 0 | - |  | #VALUE! | 1.3365e-06 | 1.5625e-06 | 3.3412e-05 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 0 | 0 | 0 | 0
X | 40 |  |  | - |  |  | - |  |  | - | #VALUE! | - | - | 0 | 0 | [5 empty] | 0 | - |  | #VALUE! | 1.3365e-06 | 1.5625e-06 | 3.3412e-05 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 0 | 0 | 0 | 0
X | 50 |  |  | - |  |  | - |  |  | - | #VALUE! | - | - | 0 | 0 | [5 empty] | 0 | - |  | #VALUE! | 1.3365e-06 | 1.5625e-06 | 3.3412e-05 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 0 | 0 | 0 | 0
Varianceu2
[24 empty] | Repeat | Indicator Accuary (mm) | Indicator Uncertainty (%) | Resolution of FMS System | Temperature | Summation | Standard Uncertainty, uc | UNCERTAINTY (%) | UNCERTAINTY U (+/-mm)
[23 empty] | Type | A | B | B | B | B
| As Left | [21 empty] | Distribution | Normal | Rect | Normal | Rect | Normal
| Distance (mm) | Nominal (mm) | Observed (mm) | RUN 1 % ERROR | Nominal (mm) | Observed (mm) | RUN 2 % ERROR | Nominal (mm) | Observed (mm) | RUN 3 % ERROR | ASTM E2309 REPEAT % | UNCERTAINTY (%) | UNCERTAINTY U (+/-mm) | L2/L3 Correction Data for Input | [6 empty] | Repeat Error | REPEAT ERROR % | Divisor | 1 | 1.73 | 2 | 1.73 | 2 | [5 empty] | Max Error |  |  | Max Repeat Error
| 10 | 10 | 10 |  | 10 | 10 |  | 10 | 10 |  |  |  |  | Nominal | Observed | [7 empty] | Standard | 0.0002% | 0.002 | 0.0025 | 0.01 | 0 | [5 empty] | Run 1 | Run 2 | Run 3
X | 10 |  |  | - |  |  | - |  |  | - | #VALUE! | - | - | 0 | 0 | [5 empty] | 0 | - |  | #VALUE! | 1.3365e-06 | 1.5625e-06 | 3.3412e-05 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 0 | 0 | 0 | 0
X | 20 |  |  | - |  |  | - |  |  | - | #VALUE! | - | - | 0 | 0 | [5 empty] | 0 | - |  | #VALUE! | 1.3365e-06 | 1.5625e-06 | 3.3412e-05 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 0 | 0 | 0 | 0
X | 30 |  |  | - |  |  | - |  |  | - | #VALUE! | - | - | 0 | 0 | [5 empty] | 0 | - |  | #VALUE! | 1.3365e-06 | 1.5625e-06 | 3.3412e-05 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 0 | 0 | 0 | 0
X | 40 |  |  | - |  |  | - |  |  | - | #VALUE! | - | - | 0 | 0 | [5 empty] | 0 | - |  | #VALUE! | 1.3365e-06 | 1.5625e-06 | 3.3412e-05 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 0 | 0 | 0 | 0
X | 50 |  |  | - |  |  | - |  |  | - | #VALUE! | - | - | 0 | 0 | [5 empty] | 0 | - |  | #VALUE! | 1.3365e-06 | 1.5625e-06 | 3.3412e-05 | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | 0 | 0 | 0 | 0
Run 3 is used only in the calculation of Uncertainty.
Uncertainty of Measurement U, (+/-) mm is expressed with a coverage factor of k=2.
Uncertainty (%) is expressed when the Uncertainty of Measurement U is applied to a test point.
| BOTTOM END OF REPORT | [12 empty] | BOTTOM END OF INSTRUCTIONS
Note on C76: The Nominal values are the values recorded and taken from the 9840 Digital Indicator or dead weights.
Note on D76: The Observed values are the values recorded and taken from the Lx Software
Note on Y77: James M. Clinton: Cell - from calibration reports, resolution & temp from cover page
Note on AR77: James M. Clinton: Dift of master loast cell (+/-0.008% of RO per degree F) times temp change over cal
Note on AS77: James M. Clinton: +/0.01% creep in 20minutes
Note on C91: The Nominal values are the values recorded and taken from the 9840 Digital Indicator or dead weights.
Note on D91: The Observed values are the values recorded and taken from the Lx Software
Note on Y92: James M. Clinton: Cell - from calibration reports, resolution & temp from cover page
Note on AR92: James M. Clinton: Dift of master loast cell (+/-0.008% of RO per degree F) times temp change over cal
Note on AS92: James M. Clinton: +/0.01% creep in 20minutes
Note on C128: The Nominal values are the values recorded and taken from the 9840 Digital Indicator or dead weights.
Note on D128: The Observed values are the values recorded and taken from the Lx Software
Note on Y129: James M. Clinton: Cell - from calibration reports, resolution & temp from cover page
Note on AR129: James M. Clinton: Dift of master loast cell (+/-0.008% of RO per degree F) times temp change over cal
Note on AS129: James M. Clinton: +/0.01% creep in 20minutes
Note on C143: The Nominal values are the values recorded and taken from the 9840 Digital Indicator or dead weights.
Note on D143: The Observed values are the values recorded and taken from the Lx Software
Note on Y144: James M. Clinton: Cell - from calibration reports, resolution & temp from cover page
Note on AR144: James M. Clinton: Dift of master loast cell (+/-0.008% of RO per degree F) times temp change over cal
Note on AS144: James M. Clinton: +/0.01% creep in 20minutes
Note on C193: Nominal Values are taken from the digital indicator (or other calibration standard)
Note on D193: Observed values are read from the Lx software
Note on Y194: James M. Clinton: Cell - from calibration reports, resolution & temp from cover page
Note on C205: Nominal Values are taken from the digital indicator (or other calibration standard)
Note on D205: Observed values are read from the Lx software
Note on Y206: James M. Clinton: Cell - from calibration reports, resolution & temp from cover page

## Load Test Points
TEST POINTS (N)
Load Cell Sizes (N) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
0.5 | 5 (g) | 10 (g) | 20 (g) | 35 (g) | 50 (g) | - | - | - | - | - | 0.01
1 | 10 (g) | 20 (g) | 40 (g) | 70 (g) | 100 (g) | - | - | - | - | - | 0.02
2 | 20 (g) | 40 (g) | 80 (g) | 140 (g) | 200 (g) | - | - | - | - | - | 0.04
5 | 50 (g) | 100 (g) | 200 (g) | 350 (g) | 500 (g) | - | - | - | - | - | 0.1
10 | 100 (g) | 200 (g) | 400 (g) | 700 (g) | 1000 (g) | - | - | - | - | - | 0.2
25 | 200 (g) | 400 (g) | 800 (g) | 1400 (g) | 2000 (g) | 2500 (g) | - | - | - | - | 0.5
50 | 200 (g) | 400 (g) | 800 (g) | 1400 (g) | 2000 (g) | 3000 (g) | 4000 (g) | 5000 (g) | - | - | 1
100 | 200 (g) | 400 (g) | 800 (g) | 1400 (g) | 2000 (g) | 4000 (g) | 6000 (g) | 8000 (g) | 10000 (g) | - | 2
125 | 2 (N) | 4 (N) | 8 (N) | 14 (N) | 20 (N) | 40 (N) | 80 (N) | 100 (N) | 125 (N) | - | 2.5
200 | 2 (N) | 4 (N) | 8 (N) | 14 (N) | 20 (N) | 40 (N) | 80 (N) | 120 (N) | 160 (N) | 200 (N) | 4
250 | 2.5 (N) | 5 (N) | 10 (N) | 17.5 (N) | 25 (N) | 50 (N) | 100 (N) | 150 (N) | 200 (N) | 250 (N) | 5
500 | 5 (N) | 10 (N) | 20 (N) | 35 (N) | 50 (N) | 100 (N) | 200 (N) | 300 (N) | 400 (N) | 500 (N) | 10
1000 | 10 (N) | 20 (N) | 40 (N) | 70 (N) | 100 (N) | 200 (N) | 400 (N) | 600 (N) | 800 (N) | 1000 (N) | 20
1500 | 15 (N) | 30 (N) | 60 (N) | 95 (N) | 150 (N) | 300 (N) | 600 (N) | 900 (N) | 1200 (N) | 1500 (N) | 30
2000 | 20 (N) | 40 (N) | 80 (N) | 140 (N) | 200 (N) | 400 (N) | 800 (N) | 1200 (N) | 1600 (N) | 2000 (N) | 40
2500 | 25 (N) | 50 (N) | 100 (N) | 175 (N) | 250 (N) | 500 (N) | 1000 (N) | 1500 (N) | 2000 (N) | 2500 (N) | 50
5000 | 50 (N) | 100 (N) | 200 (N) | 350 (N) | 500 (N) | 1000 (N) | 2000 (N) | 3000 (N) | 4000 (N) | 5000 (N) | 100
10000 | 100 (N) | 200 (N) | 400 (N) | 700 (N) | 1000 (N) | 2000 (N) | 4000 (N) | 6000 (N) | 8000 (N) | 10000 (N) | 200
25000 | 250 (N) | 500 (N) | 1000 (N) | 1750 (N) | 2500 (N) | 5000 (N) | 10000 (N) | 15000 (N) | 20000 (N) | 25000 (N) | 500
50000 | 500 (N) | 1000 (N) | 2000 (N) | 3500 (N) | 5000 (N) | 10000 (N) | 20000 (N) | 30000 (N) | 40000 (N) | 50000 (N) | 1000
Select Load Cell | - | - | - | - | - | - | - | - | - | -
Load Cell | Capacity (Max Load)
| N | lbf | kg | Test Range (g or N)
FLC-05P | 0.5 | 0.112 | 0.05 | 50
FLC-1P | 1 | 0.224 | 0.1 | 100
FLC-2P | 2 | 0.448 | 0.2 | 200
FLC-5P | 5 | 1 | 0.5 | 500
FLC-10P | 10 | 2 | 1 | 1000
FLC-25P | 25 | 5 | 2.5 | 2500
FLC-50P | 50 | 11 | 5 | 5000
FLC-100P | 100 | 22 | 10 | 10000
FLC-250P | 250 | 56 | 25 | 250
FLC-500 | 500 | 112 | 50 | 500
FLC-1000 | 1000 | 225 | 100 | 1000
FLC-2KN | 2000 | 450 | 200 | 2000
FLC-2500 | 2500 | 562 | 250 | 2500
FLC-5KN | 5000 | 1125 | 500 | 5000
FLC-50E | 50 | 11 | 5 | 5000
FLC-100E | 100 | 22 | 10 | 10000
FLC-200E | 200 | 44 | 20 | 200
FLC-500E | 500 | 112 | 50 | 500
FLC-1000E | 1000 | 225 | 100 | 1000
FLC-2000E | 2000 | 450 | 200 | 2000
FLC-2500E | 2500 | 562 | 250 | 2500
FLC-5000E | 5000 | 1124 | 500 | 5000
MLC-125 | 125 | 25 | 12.5 | 125
MLC-250 | 250 | 50 | 25 | 250
MLC-500 | 500 | 112 | 50 | 500
MLC-1000 | 1000 | 225 | 100 | 1000
MLC-1500 | 1500 | 300 | 150 | 1500
MLC-2500 | 2500 | 562 | 250 | 2500
MLC-5K | 5000 | 1124 | 500 | 5000
MLC-10K | 10000 | 2240 | 1000 | 10000
MLC-25K | 25000 | 5600 | 2500 | 25000
MLC-50K | 50000 | 11200 | 5000 | 50000
BLC-2 | 10 | 2 | 1 | 10
BLC-5 | 20 | 5 | 2 | 20
BLC-10 | 50 | 10 | 5 | 50
BLC-20 | 100 | 20 | 10 | 100
BLC-50 | 250 | 50 | 25 | 250
BLC-100 | 500 | 100 | 50 | 500
BLC-200 | 1000 | 200 | 100 | 1000
BLC-500 | 2500 | 500 | 250 | 2500
Use Weights
TEST POINTS | Weight 1 | Weight 2 | Weight 3
50 (g) | 50 | - | -
100 (g) | 100 | - | -
200 (g) | 200 | N/A | N/A
350 (g) | 300 | 50 | -
400 (g) | 400 | - | -
500 (g) | 500 | - | -
700 (g) | 500 | 200 | -
800 (g) | 500 | 300 | -
1000 (g) | 1000 | - | -
1400 (g) | 1000 | 400 | -
2000 (g) | 2000 | - | -
2500 (g) | 2000 | 500 | -
3000 (g) | 3000 | - | -
4000 (g) | 4000 | - | -
5000 (g) | 5000 | - | -
6000 (g) | 5000 | 1000 | -
8000 (g) | 5000 | 3000 | -
10000 (g) | 5000 | 4000 | 1000
- | - | - | -

## Drop Down Lists
User Interface
Select One
Tablet
All-in-one
Lx Type
Select One
L1
S1
L2
S2
L2Plus
L3
Test Frame Model | FS Travel (mm) | FS Capacity (N)
Select One
FMS-500 | 381 | 500
FMS-1000 | 762 | 1000
FMS-2500 | 1016 | 2500
FMS-5000 | 1016 | 5000
MMS-500 | 381 | 500
MMS-1000 | 762 | 1000
MMS-2500 | 1016 | 2500
MMS-5000 | 1016 | 5000
FMD-10K | 1162 | 10000
FMD-30K | 1137 | 30000
FMD-50K | 1111 | 50000
MMD-10K | 1162 | 10000
MMD-30K | 1137 | 30000
MMD-50K | 1111 | 50000
FMM-110S | 305 | 500
FMM-110 | 508 | 500
FMM-110X | 762 | 500
FMM-330S | 305 | 1500
FMM-330 | 508 | 1500
FMM-330X | 762 | 1500
FMM-550S | 305 | 2500
FMM-550 | 508 | 2500
FMM-550X | 762 | 2500
Load Cell | FS Capacity (N) | Calibration Procedure
Select One |  | Starrett Electronic
FLC-50E | 50 | Starrett Deadweight
FLC-100E | 100 | Starrett Deadweight
FLC-200E | 200 | Starrett Electronic
FLC-500E | 500 | Starrett Electronic
FLC-1000E | 1000 | Starrett Electronic
FLC-2000E | 2000 | Starrett Electronic
FLC-2500E | 2500 | Starrett Electronic
FLC-5000E | 5000 | Starrett Electronic
FLC-500 | 500 | Starrett Electronic
FLC-1000 | 1000 | Starrett Electronic
FLC-2KN | 2000 | Starrett Electronic
FLC-2500 | 2500 | Starrett Electronic
FLC-5KN | 5000 | Starrett Electronic
FLC-05P | 0.5 | Starrett Deadweight
FLC-1P | 1 | Starrett Deadweight
FLC-2P | 2 | Starrett Deadweight
FLC-5P | 5 | Starrett Deadweight
FLC-10P | 10 | Starrett Deadweight
FLC-25P | 25 | Starrett Deadweight
FLC-50P | 50 | Starrett Deadweight
FLC-100P | 100 | Starrett Deadweight
FLC-250P | 25 | Starrett Electronic
MLC-125 | 125 | Starrett Electronic
MLC-250 | 250 | Starrett Electronic
MLC-500 | 500 | Starrett Electronic
MLC-1000 | 1000 | Starrett Electronic
MLC-1500 | 1500 | Starrett Electronic
MLC-2500 | 2500 | Starrett Electronic
MLC-5K | 5000 | Starrett Electronic
MLC-10K | 10000 | Starrett Electronic
MLC-25K | 25000 | Starrett Electronic
MLC-50K | 50000 | Starrett Electronic
BLC-2 | 10 | Starrett Deadweight
BLC-5 | 20 | Starrett Deadweight
BLC-10 | 50 | Starrett Deadweight
BLC-20 | 100 | Starrett Deadweight
BLC-50 | 250 | Starrett Electronic
BLC-100 | 500 | Starrett Electronic
BLC-200 | 1000 | Starrett Electronic
BLC-500 | 2500 | Starrett Electronic

## Calibration Standards
[13 empty] | Calibration Tolerance |  | EMU (Estimated Measurement Uncertainty) K=2
Make | Model | Cal Agency | Cal Date | Due Date | ID | Capacity | Units | Accuracy +/- % FS | Uncertainty (%) | Resolution | Cal Temperature | As Left Weight (g) | Lower | Upper | mg | g
Starrett | F27401Q | Starrett | 2019-03-07 | 2020-03-07 | 131908189 | - | mm | 0.002 | 0.0025 | 0.00165 | 69
Extech | 445580 | Essco | 2019-04-03 | 2020-04-03 | Z233336 | - | F | .1⁰
Extech | 445580 | Essco | 2019-04-03 | 2020-04-03 | Z233336 | - | % | 1
Interface | 9840-200-1 | Interface | 2019-05-03 | 2021-02-01 | 20254 | - | - | -
- | Select Load Cell | - | - | - | - | - | - | - | - | - | - | [5 empty] | USED IN REPORT DROP DOWN LIST
Interface | 1610BBT-9KN | Interface | 2019-04-28 | 2021-02-01 | 465332 | 9000 | N | 0.007% | 0.05% | 0.05% | 74
Interface | 1606BGR-250N | Interface | 2019-05-03 | 2021-02-01 | 458932 | 250 | N | 0.02% | 0.04% | 0.04% | 71
Interface | 1606BGR-1500N | Interface | 2019-04-30 | 2021-02-01 | 465586 | 1500 | N | 0.007% | 0.025% | 0.025% | 70
Interface | 1606BBT-4.5KN | Interface | 2019-04-26 | 2021-02-01 | 465625 | 4500 | N | 0.015% | 0.05% | 0.05% | 72
- | Deadweights | - | - | - | - | - | - | - | - | - | -
Troemner Inc. | 5000g | Essco | 2019-12-10 | 2021-12-10 | - | 5000 | grams |  | 0.00116 | 0.00058 | 71.4 | 5000.02 | 4999.991 | 5000.049 |  | 0.029
Troemner Inc. | 4000g | Essco | 2019-12-10 | 2021-12-10 | - | 4000 | grams |  | 0.00145 | 0.000725 | 71.4 | 4000.018 | 3999.989 | 4000.047 |  | 0.029
Troemner Inc. | 3000g | Troemner, LLC | 2020-03-16 | 2021-03-16 | - | 3000 | grams |  | 0.002 | 0.001 | 71.4 | 3000.005 | 2999.975 | 3000.035 |  | 0.03
Troemner Inc. | 2000g | Essco | 2019-12-10 | 2021-12-10 | - | 2000 | grams |  | 0.0029 | 0.00145 | 71.4 | 2000.009 | 1999.98 | 2000.038 |  | 0.029
Troemner Inc. | 1000g | Essco | 2019-12-10 | 2021-12-10 | - | 1000 | grams |  | 0.00118 | 0.00059 | 71.4 | 1000.0072 | 1000.0013 | 1000.0131 |  | 0.0059
Troemner Inc. | 500g | Essco | 2019-12-10 | 2021-12-10 | - | 500 | grams |  | 0.00144 | 0.00072 | 71.4 | 500.0062 | 500.0026 | 500.0098 |  | 0.0036
Troemner Inc. | 400g | Essco | 2019-12-10 | 2021-12-10 | - | 400 | grams |  | 0.0018 | 0.0009 | 71.4 | 400.0012 | 399.9976 | 400.0048 |  | 0.0036
Troemner Inc. | 300g | Essco | 2019-12-10 | 2021-12-10 | - | 300 | grams |  | 0.0024 | 0.0012 | 71.4 | 299.9895 | 299.9859 | 299.9931 |  | 0.0036
Troemner Inc. | 200g | Essco | 2019-12-10 | 2021-12-10 | - | 200 | grams |  | 0.0036 | 0.0018 | 71.4 | 200.0003 | 199.9967 | 200.0039 |  | 0.0036
Troemner Inc. | 100g | Essco | 2019-12-10 | 2021-12-10 | - | 100 | grams |  | 0.0022 | 0.0011 | 71.4 | 100.0005 | 99.9994 | 100.0016 |  | 0.0011
Troemner Inc. | 50g | Essco | 2019-12-10 | 2021-12-10 | - | 50 | grams |  | 0.00272 | 0.00136 | 71.4 | 50.0006 | 50 | 50.0013 |  | 0.00068